CA-176WHSS HIGH RESOLUTION BULLET CAMERA - 1/3” Sony Super HAD CCD - Back Light Compensation - 480 TV Lines - 0.1 Lux at F2.0 - Weather Proof

Image Sensor; 1/3” Sony Super HAD CCD. Effective Pixels; 768(H) x 494(V). Scanning System; 2:1 Interlace. Scanning Frequency; 15.734KHz(H), 59.94Hz(V). Resolution; 480 TV Lines. Shutter Speed; 1/60~100,000 sec. S/N Ratio; More than 48 dB. Sync System; Internal. Min. Illumination; 0.1 Lux @ F2.0. White Balance; AWC. Lens; 3.6mm Fixed Lens. Video Output; 1.0Vp-p composite, 75Ω. Power Supply; DC 12V. Power Consumption; 140mA. Operating Temperature; -10°C ~ +50°C. Storage Temperature; -21°C ~ +60°C. Operational Humidity; Max 90% RH. Dimension(inch); 1.6(Ø) x 4(L). *Above specifications and design subject to change without notification