CA-176WHVA VARIFOCAL BULLET CAMERA - 1/3” Sony Super HAD CCD (410K) - 600 TV Line - 0.1 Lux - 4~9mm Varifocal Lens - External Zoom/Focal Length Adjustment - IP66 - 12V DC

Image Sensor Device; 1/3” Sony Super HAD CCD. Total Pixels; 811 x 508. Scanning System; 2 :1 Interlaced 525 Lines. Scanning Frequency; 15,734KHz(H)/ 60Hz. Shutter Speed; 1/60~1/100,000 sec). Sync. System; Internal. Resolution; More than 600 TV lines. Video Output; VBS, 1.0Vp-p Composite. S/N Ratio; More than 48dB (AGC off). Minimum Illumination; 0.1 Lux. Lens; 4~9mm Varifocal Lens (F=1.6). White Balance; Auto. Operation Temperature; -10 C~50°C (14°F~122°F). Power Consumption; DC 12V/ 70mA. Dimensions; 1.2(Ø) x 3.6(L) inch (approx.). Weight; 0.2 lbs (approx.). *Above specifications and appearance of product subject to change without notification