NVC-IR050 ## IR Camera with 50 LEDs - 1/3” Sony Super HAD CCD - 0.1 Lux (CDs on: 0.00 Lux) - 6mm fixed lens - Built-In 50 IR LED - 420 TV Lines

Image Sensor; 1/3” Sony Super HAD CCD. CCD Total Pixel; 510H x 492V. Scanning System; 2:1 Interlaced. Sync. System; Internal. Resolution; 420 TV lines. Min. Illumination; 0.1 Lux (CDS on 0.00 Lux). S/N Ratio; More than 50dB. Gamma Characteristic; r=0.45. Video Output; 1.0Vp-p 75 ohm. Electronic Shutter; 1/60~1/100,000. Power Supply; DC 12V 1000mA. Power Consumption; 520mA Type. Lens; 6mm fixed lens F:1.8. Operating Temperature; -10°C ~ 50°C. Dimensions; 2.8Ø x 3.9L inch (approx.). Weight; 2 lbs (approx.). *Above specifications and design subject to change without notification.