PBOX-DC18 18 CAMERA DC 12V POWER SUPPLY - Individual fuse and LED per output - 12V DC - 8A total output - Connect up to 18 devices simultaneously - UL listed

Power; 12V DC. Number of Output; 18. Certification; UL. Total Output; 10A. Dimensions (inch); 9.8 x 3.8 x 8.2 (L x D x W). Case Color; Beige. *Above specifications and design subject to change without notification